## 1 Safety Inspection list
1 |  | 1. | MACHINERY AND MACHINE GUARDING.
1 | 1 | 1.1 | Table saw is missing a guard.
1 | 2 | 1.2 | Belt driven pumps, motors, etc. are not protected with guards.
1 | 3 | 1.3 | Fans are not guarded or guarding mesh openings are greater than ½ in.
1 | 4 | 1.4 | Power hand tools improperly stored.
1 | 5 | 1.5 | Improper or absence of machine guards/shields.
1 | 6 | 1.6 | Out of service equipment (needs maintenance) that is not marked as such.
2 |  | 2. | EMERGENCY PREPAREDNESS AND EQUIPMENT.
2 | 1 | 2.1 | Eyewash station(s) missing weekly test records.
2 | 2 | 2.2 | Safety shower station(s) missing periodical test records.
2 | 3 | 2.3 | Eyewash station(s) obstructed at any time.
2 | 4 | 2.4 | Safety shower is not inspected/maintained regularly.
2 | 5 | 2.5 | Eyewash failed to operate properly.
2 | 6 | 2.6 | Safety shower inaccessible.
2 | 7 | 2.7 | Inadequate chemical spill response supplies available.
2 | 8 | 2.8 | First aid kit not available or inaccessible.
2 | 9 | 2.9 | No eye wash station available.
2 | 10 | 2.10 | Out of service safety equipment is required to be marked as such.
3 |  | 3. | WALKWAYS, STAIRS AND EXITS.
3 | 1 | 3.1 | Objects projecting into the exit route reducing the width of the exit route to less than minimum MTSU adopted width of 36 in.
3 | 2 | 3.2 | Exit sign is not adequately marked and illuminated.
3 | 3 | 3.3 | Trip Hazard.
3 | 4 | 3.4 | Exit door locked from direction of travel out of the door.
3 | 5 | 3.5 | Exit, aisles, walkway(s) are blocked or poorly accessible.
4 |  | 4. | FUME HOOD AND VENTILATION SYSTEMS.
4 | 1 | 4.1 | Fume hood(s) used for permanent storage.
4 | 2 | 4.2 | Bio Safety Cabinets (BSC)’s are cluttered with equipment, supplies, etc.
4 | 3 | 4.3 | Fume hood doors left open.
4 | 4 | 4.4 | Fume hoods cluttered with chemicals, equipment, etc.
4 | 5 | 4.5 | Found open container(s) in fume hood.
4 | 6 | 4.6 | Appropriate work practices are not utilized with BSC.
4 | 7 | 4.7 | Chemicals have to be placed in fume Hoods 10 in. from the hood edge.
5 |  | 5. | COMPRESSED GAS CYLINDERS.
5 | 1 | 5.1 | In-use hooked up cylinder is missing a pressure/flow regulator.
5 | 2 | 5.2 | Gas cylinders are not properly chained and secured or gas cylinders chained with improper weak chains.
5 | 3 | 5.3 | Gas cylinders are not stored away from excessive heat.
5 | 4 | 5.4 | Fuel gases are not at least 20 feet away from oxygen cylinders.
5 | 5 | 5.5 | Full and empty cylinders are not stored separately and/or empty and/or full cylinders are not labeled as such.
5 | 6 | 5.6 | Unhooked cylinders are stored uncapped.
5 | 7 | 5.7 | Hydrostatic test date(s) are not reviewed or checked periodically.
5 | 8 | 5.8 | Pressurized calibrating gas cylinders (oxidizers) are stored above eye level.
6 |  | 6. | CHEMICAL USE, HANDLING AND STORAGE.
6 | 1 | 6.1 | Unlabeled chemical container(s) or not labeled properly.
6 | 2 | 6.2 | Found chemical containers left on bench unattended, partially capped, completely uncapped, or partially damaged.
6 | 3 | 6.3 | Stored chemicals are not segregated by hazard class compatibility.
6 | 4 | 6.4 | Hazardous chemicals (corrosives and/or chemicals) are stored above eye level.
6 | 5 | 6.5 | Excessive quantities of hazardous materials stored on laboratory bench top.
6 | 6 | 6.6 | Improper chemical storage.
6 | 7 | 6.7 | Chemical containers are stored on the floor.
6 | 8 | 6.8 | Chemicals are not dated when received and opened.
6 | 9 | 6.9 | Peroxide forming reagents are not dated when opened.
6 | 10 | 6.10 | Peroxide forming reagents are not disposed of after 6 months or at expiration date.
6 | 12 | 6.12 | Expired chemicals are stored in laboratories.
6 | 13 | 6.13 | Refrigerator/freezer/microwave missing label of intended use/purpose of the equipment.
7 |  | 7. | FIRE SAFETY AND FLAMMABLE MATERIALS.
7 | 1 | 7.1 | More than five gallons of flammable chemicals found stored out of a flammable cabinet.
7 | 2 | 7.2 | Flammables are stored in standard household fridge.
7 | 3 | 7.3 | Flammable liquids in close proximity to ignition source.
7 | 4 | 7.4 | Flammable liquids stored in non-explosion proof fridge.
7 | 5 | 7.5 | Flammable or combustible liquids stored in unapproved containers.
7 | 6 | 7.6 | Stored items were found within 18 in. of sprinkler heads.
7 | 7 | 7.7 | Extinguisher is suspected to be empty.
7 | 8 | 7.8 | Laboratory doors propped open.
7 | 9 | 7.9 | Fire extinguisher blocked/not readily accessible.
7 | 10 | 7.10 | Fire extinguisher not mounted or stationed at location.
7 | 11 | 7.11 | Fire extinguisher not checked periodically.
7 | 12 | 7.12 | Unattended flammable chemicals, found stored out of flammable cabinet.
7 | 13 | 7.13 | Flammable-pressured gas(es) (Example: natural gas and hydrogen) is/are conveyed to the point of use (such as Bunsen burners and process equipment) using combustible tubing.D32
7 | 14 | 7.14 | Pressurized gas hose(s) and tubing is/are in bad conditions, and have cracks and/or patches or is/are not tightly fitted with equipment nor secured properly.
8 |  | 8. | ELECTRIC SAFETY.
8 | 1 | 8.1 | Switching devices obstructed "Switching devices" "600 Volts, nominal, or less.
8 | 2 | 8.2 | Sufficient access and working space shall be provided and maintained about all electric equipment to permit ready and safe operation and maintenance of such equipment. “Working space for equipment likely to require examination, adjustment, servicing, or maintenance while energized it shall comply with the following dimensions, except as required or permitted elsewhere in this subpart:. 1-The depth of the working space in the direction of access to live parts may not be less than (3 ft.) shall be measured from the live parts if they are exposed or from the enclosure front or opening if they are enclosed; 2-The width of working space in front of the electric equipment shall be the width of the equipment or 762 mm (30 in.), whichever is greater".
8 | 3 | 8.3 | Electrical cords placed above ceiling tiles, through doorways or walls.
8 | 4 | 8.4 | Equipment electrical cords and extension cords must not be located where they will present a tripping hazard.
8 | 5 | 8.5 | Live circuits/parts exposed, missing outlet cover plates.
8 | 6 | 8.6 | Electrical cords/outlets have cracked/brittle insulation.
8 | 7 | 8.7 | Extension cord used to power another extension line.
8 | 8 | 8.8 | Extension cord used is permanently powering installed equipment.
8 | 9 | 8.9 | Overloaded electric receptacles.
8 | 10 | 8.10 | Overloaded use of electric outlet with several pieces of equipment.
8 | 11 | 8.11 | Electrical equipment is not grounded/properly grounded.
8 | 12 | 8.12 | Obstructed electric panel.
8 | 13 | 8.13 | Electrical cords passing through holes in the ceiling (not fixed or in code).
8 | 14 | 8.14 | Live circuits/parts exposed (Check for missing outlet cover plates, open electrical panels, equipment).
8 | 15 | 8.15 | Loose ceiling electric light fixture cover.
8 | 16 | 8.16 | Electrical equipment used in improper environment.
8 | 17 | 8.17 | Non-spark proof equipment being used in flammable environment or around flammable and combustible chemicals.
8 | 18 | 8.18 | Daisy chaining power strips
9 |  | 9. | PERSONAL PROTECTION EQUIPMENT.
9 | 1 | 9.1 | No PPE used by laboratory primary investigators/users.
9 | 2 | 9.2 | Laboratory users wearing open toed shoes (sandals, etc.) skirts or shorts in laboratory while working with hazardous materials.
9 | 3 | 9.3 | Laboratory users not wearing gloves, safety glasses or other protective equipment while working with hazardous materials in laboratory.
9 | 4 | 9.4 | Disposable PPE is being reused or not disposed properly immediately after being doffed.
10 |  | 10. | GENERAL SAFETY AND HOUSE KEEPING.
10 | 1 | 10.1 | Poor housekeeping, cluttered work area in laboratory space, on counters, on benches, in aisles, on floor, in refrigerator, in hood enclosures, or on push carts.
10 | 2 | 10.2 | Laboratory benches and aisles are used as storage areas and not being cleaned upon completion of each experiment or at the end of each day.
10 | 3 | 10.3 | Food/beverages used/stored/ disposed of in laboratory.
10 | 4 | 10.4 | Unsecure stored stacked objects.
10 | 5 | 10.5 | Stored chemical materials or chemicals on the floor.
10 | 6 | 10.6 | Used empty sampling vials are left laying on lab benches uncapped and not disposed properly.
10 | 7 | 10.7 | Residues of unknown chemical powder is left on the counter(s).
10 | 8 | 10.8 | Used pipette tips laying on laboratory benches or floor with chemical residues in them.
10 | 9 | 10.9 | Laboratory cabinets are not organized, cabinets doors were propped open and not closed properly.
10 | 10 | 10.10 | Secondary containers are missed.
10 | 11 | 10.11 | Gas lines, piping, manifolds, etc. are not labeled with identity of contents.
10 | 12 | 10.12 | Aisles & walkways not free of tripping hazards-(36 in.) wide.
10 | 13 | 10.13 | High shelves and/or cabinet tops have heavy items above eyesight that may fall and injure someone.
10 | 14 | 10.14 | Heavy items are shelved on nonrated unsecured shelves.
10 | 15 | 10.15 | Stored items shelved protruding out of shelves widths.
10 | 16 | 10.16 | Emergency phone, tornado shelters and evacuation routes are not posted for building occupiers.
10 | 17 | 10.17 | House vacuum and vacuum pumps are not protected with in-line HEPA filters.
10 | 18 | 10.18 | Chemical hygiene plan is missing.
10 | 19 | 10.19 | Safety Data Sheets (SDS’s) are not available or are missed.
10 | 20 | 10.20 | Gas lines, piping, manifolds, etc. are improperly lined up, installed, fitted or connected.
10 | 21 | 10.21 | MSDS still being used in laboratory. MSDS is obsoleted from use by the Global Harmonization System.
10 | 22 | 10.22 | SDS's needs to be updated.
10 | 23 | 10.23 | Training records are not available.
10 | 24 | 10.24 | Stored stacks are not secured stable.
10 | 25 | 10.25 | Space heater in use.
10 | 26 | 10.26 | Missing or loose fit ceiling tile.
10 | 27 | 10.27 | Chemicals stored above head level,.
10 | 28 | 10.28 | Stored chemical is missing special safety requirements: (1) Hydrofluoric Acid storage missing emergency safety preparedness. Handling & storage of this chemical in laboratory is questioned.
10 | 29 | 10.29 | Improper Chemical(s) storage.
10 | 30 | 10.30 | Stored chemical is missing special safety requirements: (2) "Piranha acid" noticed to be permanently stored. Handling & storage of this chemical in lab is questioned.
10 | 31 | 10.31 | Unsafe usage/connection or storage of Bunsen burner in the laboratory.
10 | 32 | 10.32 | Sink drain is blocked with debris or obstacles.
10 | 33 | 10.33 | Access to exits or emergency equipment is blocked.
10 | 34 | 10.34 | Equipment is damaged (cracks, defects, etc.) and is not marked as out of service equipment.
10 | 35 | 10.35 | Evidence of chemical waste is disposed of into the drain.
10 | 36 | 10.36 | Place chemical waste in appropriately labeled waste containers.
10 | 37 | 10.37 | Used weigh boats, gloves, filter paper, or paper towels are not disposed properly.
11 |  | 11. | SHARPS PROGRAM.
11 | 1 | 11.1 | Sharps containers are over filled beyond fill line.
11 | 2 | 11.2 | Sharps containers are not available, not used, waste segregation is not appropriate.
11 | 3 | 11.3 | Used needles and syringes, razor blades, pasteur pipettes and other sharps are not disposed properly in "sharps containers” after being used.
11 | 4 | 11.4 | Leftover syringes/air tight fit syringes with sharp needles and/or sharp pointed glass pipettes/sharp pointed metal spatulas are left on laboratory surfaces (hoods, benches, equipment tops), not stored or disposed properly.
11 | 5 | 11.5 | Sharp pointed edges pointing vertically,
12 |  | 12. | PHYSICAL HAZARDS.
12 | 1 | 12.1 | Broken glassware is improperly disposed.
12 | 2 | 12.2 | Broken glassware is left broken in the laboratory and not placed in broken glass receptacle. Laboratory users are subject to physical hazard and probability to be injured.
12 | 3 | 12.3 | Pressurized glassware other than ambient pressure is not taped or shielded.
12 | 4 | 12.4 | Broken, glass parts, pipettes, or glass thermometers are improperly disposed of in sharp containers.
12 | 5 | 12.5 | Protruding sharp edges existing in the work space trafficking areas.
12 | 6 | 12.6 | Duct tape is used to secure pressurized tubing
13 |  | 13. | RADIATION SAFETY.
14 |  | 14. | HAZARDOUS WASTE PROGRAM.
14 | 1 | 14.1 | Waste collection containers are not labeled as hazardous waste.
14 | 2 | 14.2 | Waste containers are not kept sealed.
14 | 3 | 14.3 | Hazardous waste spray container(s) are not labeled.
14 | 4 | 14.4 | Hazardous waste labels information are not completed properly (abbreviations/formulas are used, missing starting date or content percentages).
14 | 5 | 14.5 | No accumulation start date on hazardous waste label.
14 | 6 | 14.6 | Hazardous waste label full date exceeds 3 day limit.
14 | 7 | 14.7 | Hazardous waste stored for greater than 90 days.
14 | 8 | 14.8 | Hazardous waste residue on outside of container.
14 | 9 | 14.9 | Missing Hazardous waste dedicated area signage.
14 | 10 | 14.10 | Numerous unfilled bottles of one hazardous waste container of same waste type.
15 |  | 15. | SIGNAGES.
15 | 1 | 15.1 | "Surgical procedures in progress", such alert signs should not be posted permanently at door entrances /exits.
15 | 2 | 15.2 | Signs not posted indicating specific storage areas (cylinder, biohazard, flammable, etc.).
15 | 3 | 15.3 | Appropriate signs not posted (First aid kit, safety shower, fire extinguisher, PPE list, etc.).
15 | 4 | 15.4 | Access to the lab is not limited or restricted when experiments or work with biohazard materials are in progress.
15 | 5 | 15.5 | Missing warning signs and labels.
15 | 6 | 15.6 | Restricted area not identified or unsecured.
16 |  | 16. | BIOHAZARD.
16 | 1 | 16.1 | Biohazard infectious waste accumulated in lab was not labeled or marked with biohazard label.
16 | 2 | 16.2 | Biohazard infectious waste accumulated in a leaking container/bag.
16 | 3 | 16.3 | Biohazards waste containers are not available for non-sharp waste.
16 | 4 | 16.4 | Missing Biohazards signage.
16 | 5 | 16.5 | BCS’s are not marked with biohazard stickers.
16 | 6 | 16.6 | Signs not posted indicating specific storage areas (cylinder, biohazard, flammable, etc.)
16 | 7 | 16.7 | BIOHAZARD signs are not posted on access doors to biohazard laboratories and animal rooms.
16 | 8 | 16.8 | BIOHAZARD labels are not placed on materials and equipment used to store and to manipulate biohazard materials.