## Design Phase CHECKLIST
C32 SCHEMATIC DESIGN PHASE DOCUMENT CHECKLIST
Project Name: |  | Prepared By:
SBC No.: |  | Date:
General Information |  | Building Elevations
| Occupancy Classifications/Const. Type(s) |  | Exterior Bldg. Elevations with locations of doors, operable/fixed/spandrel glazing, floor-to-floor and overall heights
Life Safety Plan with fire separations/walls, egress routes, ADA accessibility
| Occupant Loads |  | Exterior Finish Materials
| Code Analysis Sheet with GSF for each level |  | Exterior Cladding Systems
| Drawing Set Sheet Index |  | Exterior Lighting Locations
| Room Numbering System |  | Roof Profile and Finish Materials
Interior Elevations of major/complex spaces
Space Efficiency and Cost Analysis |  |  | Typical Casework Elevations
Calculated GSF, NASF, and ER
| Comparison of Calculate ER with Bid Target | Building & Wall Sections
| Comparative Project Cost Data |  | Bldg. Sections showing floor-to-floor heights, space relationships, mechanical plenums
Escalation Factor Information
| Cost/GSF Estimate |  | Preliminary Typical Exterior Wall Sections
| Probable Total Construction Cost |  | Stair, Elevator, and Shaft Sections
Site Plans |  | Details
| Site Survey of existing topography |  | Preliminary Significant Exterior Wall Details
| Site Location Plan with parking/site features |  | Significant Structural Details
| Site Grading/Drainage Plan |  | Preliminary MEP Equipment Schedules
| Site Utilities/Civil Engineering Plan |  | Reflected Ceiling Plans for major/typical spaces
| Site Landscaping Sketch Plan |  | Specialty Wall Details (blast/dust/visual)
Site Detail Sheets
Project Manual
Building Floor Plans |  |  | Basis of Design Description
| 1/8" Floor Plans with gross dimensions, building columns, and door swings |  | Basic Building Materials List
Outline Specifications
| 1/8" min. Roof Plan |  | Interior Finish Narrative Description
| Occupancy Separation/Rated Wall Plans |  | Soils Investigation Report
| Structural Foundation/Column Plans |  | Storm Water Erosion Control Plan/Preliminary Storm Water Pollution Prevention Plan
Structural Framing Plans
| Preliminary Furniture/Equipment Plans |  | Traffic Study & Description (if required)
| Reflected Ceiling Plans, major/typical spaces |  | Signage/Wayfinding Narrative (if required)
| Mechanical Single-Line Distribution Plans |  | Vibration Analysis (if required)
| Vertical Circulation, Shafts, and Chases |  | Fume Hood/Lab Equipt. Inventory (if required)
Electrical Lighting Plans
| Preliminary Lab Equipment Plans (if required) | High Performance Building Requirements
| Preliminary Kitchen/Specialty Equipment Plans |  | HPBr documents required for design phase.