Notate for each of the subjects of observation: estimated percentages of work provided and of provided work observed, whether 
satisfied () or dissatisfied () with work, and any pertinent concise comment, adding further comment on another sheet if needed.

|  | Subjects of Observation | %Work | %Obs |  |  | Comment |
| --- | --- | --- | --- | --- | --- | --- |
| a. | On-site stored materials for protection from dust, dirt, and physical damage |  |  |  |  |  |
| b. | Ductwork, dampers, air-distribution boxes, grills, diffusers, vanes, test ports, adjusting hardware, insulation, supports, and connections for accessibility and serviceability |  |  |  |  |  |
| c. | Piping systems, valves, connections, routing, accessories, and insulation for installation, correct location, proper labels, accessibility, and serviceability |  |  |  |  |  |
| d. | Air handling, ventilation, and air transfer equipment for installation, accessibility, and serviceability |  |  |  |  |  |
| e. | Controls and controlling equipment for proper device types, locations, access, and wiring |  |  |  |  |  |
| f. | Pumps, pumping devices, chilled water, hot water, steam generating equipment checked for proper type, size, installation, connections, accessibility, and serviceability |  |  |  |  |  |
| g. | Wiring and conduit systems for proper routing, size, supports, and labeling |  |  |  |  |  |
| h. | Electrical panels, wiring, transformers, and associated equipment |  |  |  |  |  |
| i. | Emergency lighting, electrical systems and equipment, generators, and associated devices |  |  |  |  |  |
| j. | Piping systems for proper routing, size, supports, insulation, labeling, and installation of vents and drains |  |  |  |  |  |
| k. | Temperature control devices and wiring |  |  |  |  |  |
| l. | Structural installations of interior and exterior surfaces, including roofing |  |  |  |  |  |